Non-intrusive monitoring systems for the refinement of energy analysis models in public buildings

M. Piga (*), A. Frattolillo, C.C. Mastino, R. Possidente

Dipartimento di Ingegneria Civile, Ambientale ed Architettura - Università degli Studi di Cagliari

(*) correspondence author manuela.piga@unica.it - tel. xxxxxxxx – cel. xxxxxxx

Abstract

The influence of occupant behavior and improper management practices on energy consumption in buildings is becoming increasingly significant with the decreasing in the overall energy demand for the same buildings due to the highly ambitious energy performance requirements. Several papers have highlighted the considerable role of behavioral aspects in the actual gap between the designed and real consumption data. The recent jump in smart meter technology opened new perspectives in monitoring occupant behavior and the poor management of air conditioning systems in buildings allowing them to be used to refine energy consumption analysis and forecasting models. This paper describes the research activities carried out within the RSE 2024-25 High efficiency buildings for energy transition, aimed at implementing experimental data for monitoring indoor comfort in two public buildings in the municipality of Carbonia to refine their initial energy diagnosis model. The novelty of this research therefore consists in refining the building energy model from a correct monitoring not only of the classic energy parameters, but also of the real use profile data of the building (switch-on times, hours of operation, consumption/climate correspondence) obtainable from the parameters linked to indoor comfort. Targeted measurement campaigns were conducted to evaluate electricity consumption in some residential and two public buildings, using the Fluke 1777/BASIC analyzer. Primary energy consumption was instead estimated: for residential buildings, from sample interviews; for public buildings from municipal administration billings and systems’ operating hours. The hourly data provided by Indoor Air Quality sensors allowed us to obtain useful information on the use and thermo-hygrometric behavior of the environments being analysed, allowing the validation of the results obtained. The results show that the most significant errors are in estimating the primary energy requirement for summer air conditioning (over 42% for the buildings studied). This is largely attributable to unrealistic efficiency data on the generation systems. The data obtained have been correlated to the different construction typologies integrating the results related to the territorial energy mapping of interest.